Enclosure Fire Dynamics:

A collection of equations, tables and figures

Pool fire	2

Fire Plumes and Flame Heights	2

The Zukoski Plume	2

The Heskestad Plume	2

The Thomas Plume	2

Line Source Plume	2

Ceiling Jet	3

Flame Extensions Under Ceilings	3

Pressure Profiles and Vent Flows, Well-Ventilated Enclosures	3

The Well-Mixed Case	3

Taking into Account the Mass Produced in the Room	4

The Stratified Case	4

Mass Flow out through a Ceiling Vent	4

Gas Temperatures in Ventilated Enclosure Fires	4

Predicting time to Flashover	4

The Energy and Mass Balance	5

Conservation Equations and Smoke Filling	5

The Conservation of Energy	5

Smoke filling of an Enclosure with Leaks	5

Estimating Gas Temperature for the Floor Leak Case	6

Smoke Control in Large Places	6

Natural Ventilation from Upper Layer	6

Lower layer Pressurization by Mechanical Ventilation	7

Combustion Products	7

BK,061015 / HA, 071023

Pool fire

Energy release rate:  	(3.5)

Mass loss rate:  	(3.6)

# Fire Plumes and Flame Heights

Flame height: 	(4.3)

Continuity equation: 	(4.10)

Momentum-boyancy equation: 	(4.13)

### The Zukoski Plume

Mass flow equation: 	(4.21)

### The Heskestad Plume

Virtual origin: 	(4.23)

Plume radius: 	(4.24)

Centerline temperature: 	(4.25)

Centerline velocity: 	(4.26)

Plume mass flow rates:

For z > L:		(4.27)

For z < L:		(4.28)

### The Thomas Plume

Mass flow rate: 	(4.31)

### Line Source Plume

Flame height: 	(4.34)

Mass flow rate: 	(4.35)

### Ceiling Jet

For r/H < 0.18:		(4.36)

For r/H > 0.18:		(4.37)

For r/H < 0.15:		(4.38)

For r/H > 0.15:		(4.39)

### Flame Extensions Under Ceilings

Radial flame extension: 	(4.40)

# Pressure Profiles and Vent Flows, Well-Ventilated Enclosures

The Bernoulli equation: 	(5.2)

(5.9) Mass flow through thin top vent: 	(5.11) Mass flow through thin lower vent: 	(5.12)

### The Well-Mixed Case

Non-constant velocity:

Mass flow rate through upper vent: 	(5.18)

Mass flow rate through lower vent: 	(5.19)

Mass flow into tall opening: 	(5.24)

### Taking into Account the Mass Produced in the Room

Mass flow rate of ambient air: 	(5.29)

### The Stratified Case

Mass flow rate out: 	(5.31)

Mass flow rate in: 	(5.36)

### Mass Flow out through a Ceiling Vent

Mass flow: 	(5.44)

# Gas Temperatures in Ventilated Enclosure Fires

Temperature difference: 	(6.11)

Thermal penetration time: 	(6.14)

For t < tp		(6.15)

For t ( tp		(6.16)

For t < tp		(6.17)

For t ( tp		(6.18)

For composite layers: 	(6.19)

### Predicting time to Flashover

Necessary energy release rate: 	(6.20)

Mechanically ventilated area: 	(6.21)

### The Energy and Mass Balance

Total energy balance: 	(6.26)

Maximum energy release rate: 	(6.27)

Hot gases leaving: 	(6.28)

Through walls: 	(6.29)

Radiation through opening: 	(6.30)

# Conservation Equations and Smoke Filling

Gauss’ formula: 	(8.3)

Universal gas law: P =  R T	(8.12)

### The Conservation of Energy

With work: 	(8.14)

With enthalpy: 	(8.21)

Sealed pressure rise: 	(8.24)

Leaky pressure rise: 	(8.30)

When leakage is stabilized: 	(8.31)

Leaky pressure difference: 	(8.32)

### Smoke filling of an Enclosure with Leaks

Dimensionless height: 	(8.36)

Dimensionless heat release rate: 	(8.37)

Dimensionless time: 	(8.38)

Dimensionless equation: 	(8.39)

Solution for y: 	(8.41)

### Estimating Gas Temperature for the Floor Leak Case

Energy room size relation: 	(8.45)

Dimensionless equation: 	(8.46)

### Smoke Control in Large Places

Control constant: 	(8.50)

Interface layer height: 	(8.52)

Upper layer density: 	(8.55)

Heat transfer: 	(8.61)

Gas temperature: 	(8.62)

### Natural Ventilation from Upper Layer

Pressure difference: 	(8.64)

Upper opening mass flow rate: 	(8.67)

### Lower layer Pressurization by Mechanical Ventilation

Pressure difference: 	(8.71)

Upper opening mass flow rate: 	(8.72)

# Combustion Products

Yield of species: 	(9.1)

Mass fraction of species: 	(9.2)

Equivalence ratio: 	(9.5)

Fuel mixture fraction:

Fuel mixture fraction based on equivalence ratio: 	(9.8)

Control volume formulation: 	(9.20)

Steady state mass fraction: 	(9.25)

Figure 3.1 Energy release rate measured when burning 1.2 m by 1.2 m wood pallets, stacked to different heights.

Figure 3.6 Typical Energy Release Rate from a wood pallet stack.

Figure 3.7 Dependence of pallet stack height on peak energy release rate (from Babrauskas [3.1]).

Table 3.2 Burning rate per unit area and complete heat of combustion for various materials (from Tewarson [3.4]).

| Material (values in brackets indicate pool diameters tested) | (kg/m2s) | Hc (MJ/kg) |
| --- | --- | --- |
| Aliphatic Carbon-Hydrogen Atoms: |  |  |
| Polyethylene | 0.026 | 43.6 |
| Polypropylene | 0.024 | 43.4 |
| Heavy fuel oil (2.6 - 23 m) | 0.036 |  |
| Kerosene (30 - 80 m) | 0.065 | 44.1 |
| Crude oil (6.5 - 31 m) | 0.056 |  |
| n-Dodecane (0.94 m) | 0.036 | 44.2 |
| Gasoline (1.5 - 223 m) | 0.062 |  |
| JP-4 (1 - 5.3 m) | 0.067 |  |
| JP-5 (0.6 - 1.7 m) | 0.055 |  |
| n-Heptane (1.2 - 10 m) | 0.075 | 44.6 |
| n-Hexane (0.75 - 10 m) | 0.077 | 44.8 |
| Transformer fluids (2.37 m) | 0.025 - 0.030 |  |
| Aromatic Carbon-Hydrogen Atoms: |  |  |
| Polystyrene (0.93 m) | 0.034 | 39.2 |
| Xylene (1.22 m) | 0.067 | 39.4 |
| Benzene (0.75 - 6.0 m) | 0.081 | 40.1 |
| Aliphatic Carbon-Hydrogen-Oxygen Atoms: |  |  |
| Polyoxymethylene | 0.016 | 15.4 |
| Polymethylmethacrylate, PMMA (2.37 m) | 0.030 | 25.2 |
| Methanol (1.2 - 2.4 m) | 0.025 | 20 |
| Acetone (1.52 m) | 0.038 | 29.7 |
| Aliphatic Carbon-Hydrogen-Oxygen-Nitrogen Atoms: |  |  |
| Flexible polyurethane foams | 0.021 - 0.027 | 23.2 - 27.2 |
| Rigid polyurethane foams | 0.022 - 0.025 | 25.0 - 28.0 |
| Aliphatic Carbon-Hydrogen-Halogen Atoms: |  |  |
| Polyvinylchloride | 0.016 | 16.4 |
| Tefzel( (ETFE) | 0.014 | 12.6 |
| Teflon( (FEP) | 0.007 | 4.8 |

Table 3.3: Data for large pool (D > 0.2 m) burning rate estimates (from Babrauskas [3.1])

| Material | Density(kg/m3) | (kg/m2s) | Hc (MJ/kg) | k (m-1) |
| --- | --- | --- | --- | --- |
| Cryogenics: |  |  |  |  |
| Liquid H2 | 70 | 0.017 | 120.0 | 6.1 |
| LNG (mostly CH4) | 415 | 0.078 | 50.0 | 1.1 |
| LPG (mostly C3H8) | 585 | 0.099 | 46.0 | 1.4 |
| Alcohols: |  |  |  |  |
| methanol (CH3OH) | 796 | 0.017 | 20.0 | * |
| ethanol (C2H5OH) | 794 | 0.015 | 26.8 | * |
| Simple organic fuels: |  |  |  |  |
| butane (C4H10) | 573 | 0.078 | 45.7 | 2.7 |
| benzene (C6H6) | 874 | 0.085 | 40.1 | 2.7 |
| hexane (C6H14) | 650 | 0.074 | 44.7 | 1.9 |
| heptane (C7H16) | 675 | 0.101 | 44.6 | 1.1 |
| xylene (C8H10) | 870 | 0.09 | 40.8 | 1.4 |
| acetone (C3H6O) | 791 | 0.041 | 25.8 | 1.9 |
| dioxane (C4H8O2) | 1035 | 0.018’’ | 26.2 | 5.4** |
| diethyl ether (C4H10O) | 714 | 0.085 | 34.2 | 0.7 |
| Petroleum products: |  |  |  |  |
| benzine | 740 | 0.048 | 44.7 | 3.6 |
| gasoline | 740 | 0.055 | 43.7 | 2.1 |
| kerosine | 820 | 0.039 | 43.2 | 3.5 |
| JP-4 | 760 | 0.051 | 43.5 | 3.6 |
| JP-5 | 810 | 0.054 | 43.0 | 1.6 |
| transformer oil, hydrocarbon | 760 | 0.039** | 46.4 | 0.7** |
| fuel oil, heavy | 940 - 1000 | 0.035 | 39.7 | 1.7 |
| crude oil | 830 - 880 | 0.022-0.045 | 42.5 - 42.7 | 2.8 |
| Solids: |  |  |  |  |
| polymethylmethacrylate (C5H8O2)n | 1184 | 0.020 | 24.9 | 3.3 |
| polypropylene (C3H6)n | 905 | 0.018 | 43.2 |  |
| polystyrene (C8H8)n | 1050 | 0.034 | 39.7 |  |

* Value independent of diameter in turbulent regime.  ** Estimate uncertain since only two points available

Figure 3.8 Typical upholstered furniture energy release rates (from Babrauskas [3.1]).

Figure 3.9 Typical mattress energy release rate (from Särdqvist [3.2]).

Figure 3.10 Energy release rates for trash bags (adopted from Babrauskas [3.1]).

Figure 3.11 Energy release rates from two experiments with television sets (adopted from Babrauskas [3.1])

Figure 3.12 Energy release rates from three experiments with Christmas trees (adopted from Babrauskas [3.1]).

Table 3.4: Conversion to Equivalent Fire Load Density and Equivalent Opening Factor

Figure 3.14 Energy release rates for different growth rates.

Table 3.5 Values of  for different growth rates according to NFPA 204M [3.6].

| Growth rate |  kW/s2 | Time (s) to reach 1055 kW |
| --- | --- | --- |
| ultra fast | 0.19 | 75 |
| fast | 0.047 | 150 |
| medium | 0.012 | 300 |
| slow | 0.003 | 600 |

Table 3.7 Typical growth rates recommended for various types of occupancies.

| Type of occupancy | Growth rate  |
| --- | --- |
| Dwellings, etc. | medium |
| Hotels, Nursing homes, etc. | fast |
| Shopping centers, entertainment centers | ultra fast |
| Schools, offices | fast |
| Hazardous industries | Not specified |

Table 3.6  Energy release rate data from Nelson [3.7]

| Description | Growth rate | kW/m2 of floor area |
| --- | --- | --- |
| fire retarded treated mattress (including normal bedding) | S | 17 |
| light weight type C upholstered furniture** | M | 170* |
| moderate weight type C upholstered furniture** | S | 400* |
| mail bags (full) stored 5 feet high | F | 400 |
| cotton/polyester innerspring mattress (including bedding) | M | 565* |
| light weight type B upholstered furniture** | M | 680* |
| medium weight type C upholstered furniture** | S | 680* |
| methyl alcohol pool fire | UF | 740 |
| heavy weight type C upholstered furniture** | S | 795* |
| polyurethane innerspring mattress (including bedding) | F | 910* |
| moderate weight type B upholstered furniture** | M | 1020* |
| wooden pallets 1 - 1/2 feet high | M | 1420 |
| medium weight type B upholstered furniture** | M | 1645* |
| light weight type A upholstered furniture** | F | 1700* |
| empty cartons 15 feet high | F | 1700 |
| diesel oil pool fire (>about 3 Ft. dia.) | F | 1985 |
| cartons containing polyethylene bottles 15 feet high | UF | 1985 |
| moderate weight type A upholstered furniture** | F | 2500* |
| particle board wardrobe/chest of drawers | F | 2550* |
| gasoline pool fire ( >about 3 Ft. dia.) | UF | 3290 |
| thin plywood wardrobe with fire retardant paint on all surfaces | UF | 3855* |
| wooden pallets 5 feet high | F | 3970 |
| medium weight type A upholstered furniture** | F | 4080* |
| heavy weight type A upholstered furniture** | F | 5100* |
| thin plywood wardrobe (50in. X 24in. X 72in. high) | UF | 6800* |
| wooden pallets 10 foot high | F | 6800 |
| wooden pallets 16 foot high | F | 10200 |

Notes:

* Peak rates of energy release were of short duration.  These fuels typically showed a rapid rise to the peak and a corresponding rapid decline.  In each case the fuel package tested consisted of a single item.

** The classification system used to describe upholstered furniture is as follows:

LIGHT WEIGHT = Less than about 5 lbs/ft2 of floor area. A typical 6-foot long couch would weigh under 75 lbs.

MODERATE WEIGHT = About 5-10 lbs/ft2 of floor area. A 6-foot long couch would weigh between 75 and 150 lbs.

MEDIUM WEIGHT = About 10-15 lbs/ft2 of floor area. A 6-foot long couch would weigh between 150 and 300 lbs.

HEAVY WEIGHT = More than about 15 lbs/ft2 of floor area. A typical 6-foot long couch would weigh over 300 lbs.

Type A = Furniture with untreated or lightly treated foam plastic padding and nylon or other melting fabric.

Type B = Furniture with lightly- or un-treated foam plastic padding or nylon or other melting fabric but not both.

Type C = Furniture with cotton or treated foam plastic padding, having cotton or other fabric that resists melting.